## Slide 1: Sensor and Sensing Technology
Presenting to
Professor Zhang, Yikui
School Computer Software

## Slide 2
Name & ID | Taiabur Rahman 6218000126 | Mansoor Saleh Mubarak Bamahel 6218000158 | Mohammed Hasan mohammed algamali 6118000082
Part | Radiometry | Lenses | Concentrators
 | Photometry | Fresnel Lenses | Coatings for Thermal Absorption
 | Windows | Fiber Optics and Waveguides | Nano-opticsn
 | Mirrors |  | 

## Slide 3: Optical Components of Sensors
Presentation topic

## Slide 4
Radiometry
Photometry
Windows
Mirrors

## Slide 5: Optical Components of Sensors
Image source: internet
The light direction can be changed by the refraction with the help of lenses, prisms, windows, chemical solutions, crystals, organic materials, and biological objects. While passing through these objects, properties of light may be modified (modulated) by a measured stimulus. Then, the task of a sensor designer is to arrange a conversion

## Slide 6: Optical System
Image source: internet
A double concave lens is thinner and flatter in the middle than the edges.
Light passing through the thicker more curved areas of the lens will bend more than light passing through the thinner areas, causing the light to spread out or diverge.
The formation of an image with a double convex lens depends on where the object is placed and the orientation of the light source.

## Slide 7: Radiometry
Image source: internet
What is Radiometry?
Radiometry is detecting and measuring electro-magnetic energy (radiant energy).
What are Radiometric Measurements?
Radiometric measurements use the electromagnetic energy received by a sensor to calculate figures of merit rather than the temperature of an object in the scene.
Why Use Radiometric Measurements?
They more accurately measure a sensor characteristics because a sensor responds to the radiant energy in a scene not the temperature of a single object.

## Slide 8: Transparency characteristics for various optical materials
Image source: internet

## Slide 9: Photometry
Image source: internet
Photometry focuses on assigning numerical values of light energy emitted form wavelengths between 400 and 700nm. This is the visible light portion.
This light meter from Quantum Instruments is just for Photometry use.

## Slide 10: Radiometric and photometric terminology
Description | Radiometric | Photometric
Total flux | Radiant flux (F) in watts | Luminous flux (F) in lumens
Emitted flux density at a source surface | Radiant emittance (W) in W/cm2 | Luminous emittance (L) in Lumens/cm2 (Lamberts)
Source intensity (point source) | Radiant intensity (Ir) in W/steradian | Luminous intensity (IL) in Lumens/steradian (candela)
Source intensity (area source) | Radiance (Br) in W/steradian/cm2 | Luminance (BL) in Lumens/steradian/cm2 (Lambert)
Flux density incident on a receiver surface | Irradiance (H) in W/cm2 | Illuminance (E) in lumens/cm2 (candle)

## Slide 11: Windows
The main purpose of windows is to protect interiors of sensors and detectors from environment.
A good window should transmit light rays in a specific wavelength range with minimal distortions.
Spherical window

## Slide 12: Mirrors
Mirror is the oldest optical instrument ever used or designed.
Whenever light passes from one medium to another, there is some reflection.
Second surface mirror

## Slide 13: Thank you